|  |  |
| --- | --- |
| Information to be visibly displayed on free-access website | |
| (a) Maximum output power (W): | 3.6W |
| (b) Type of light source(s) for which it is intended: | LED |
| (c) Efficiency in full-load (%): | 70% Min |
| (d) No-load power Pno (W): | 0.3W Max |
| (e) Standby power Psb (W): | NA |
| (f) Networked standby power Pnet (W): | NA |
| (g) A warning if the control gear is not suitable for dimming of light sources or can be used only with specific types of dimmable light sources or using specific wired or wireless dimming methods. In the latter cases, detailed information on the conditions in which the control gear can be used for dimming shall be provided on the manufacturer’s or importer’s website | not suitable for dimming |
| Information to be visibly displayed on free-access website | |
| (h) Outer dimensions (mm) | L x W x H : 96\*49\*44（mm） |
| (i) Mass (g), without packaging, and without lighting control parts and non-lighting parts, if any and if they can be physically separated from the control gear | 48g |
| (j) Instructions on how to remove, how to switch on/off, how to minimise their power consumption | Pluggable |
| (k) If the control gear can be used with dimmable light sources, a list of minimum characteristics that the light sources should have to be fully compatible with the control gear during dimming, and possibly a list of compatible dimmable light sources; | — |
| (l) Recommendations on how to dispose of it at the end of its life in line with Directive 2012/19/EU | Do not dispose of electrical appliances as unsorted municipal waste, use separate collection facilities. Contact your local authority for information regarding the collection systems available. If electrical appliances are disposed of in landfills or dumps, hazardous substances can leak into the groundwater and get into the food chain, damaging your health and wellbeing. |